| # Worksheet 3.4B Portfolio sustainability data template (A3 page size) |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| ### Fund/portfolio name: |  |  |  |  |  |  |  |  |  |  |
| ### Period of assessment: 20XX – 20XY (Financial year) |  |  |  |  |  |  |  |  |  |  |
| Use this spreadsheet to aggregate data across a fund or portfolio so you can identify baseline performances over various sustainability criteria. Data may be collected using Worksheet 3.4A: ‘Property sustainability data template’. This is an example only – adapt this worksheet to suit your organisation’s requirements. |  |  |  |  |  |  |  |  |  |  |
| ### Property information | ### Building number (for this assessment) | Example | ### 1 | ### 2 | ### 3 | ### 4 | ### 5 | ### 6 | ### 7 | ### 8 |
|  | Name and address of each property | Example office building |  |  |  |  |  |  |  |  |
|  | State | NSW |  |  |  |  |  |  |  |  |
|  | Age (years) | 18 |  |  |  |  |  |  |  |  |
|  | NLA (m2) | 19,917 |  |  |  |  |  |  |  |  |
|  | Basement (m2) | 5,500 |  |  |  |  |  |  |  |  |
|  | No. Occupants (average over period) | 905 |  |  |  |  |  |  |  |  |
|  | Average occupant density (based on 1 person/15m2 NLA) | 1,328 |  |  |  |  |  |  |  |  |
|  | Managing Agent | Name |  |  |  |  |  |  |  |  |
| ## Electricity Offices (NLA) | Total annual electricity consumption in offices (kWh) | 2,054,976 |  |  |  |  |  |  |  |  |
|  | Total annual electricity consumption in offices (MJ) | 7,397,914 |  |  |  |  |  |  |  |  |
|  | Total annual electricity supply cost ($) | 211,178 |  |  |  |  |  |  |  |  |
|  | Electricity efficiency (MJ/m2/year) | 371.44 |  |  |  |  |  |  |  |  |
|  | Fund/portfolio average (MJ/m2/year) | 404.00 |  |  |  |  |  |  |  |  |
|  | Electricity annual total supply cost ($/m2/year) | 10.60 |  |  |  |  |  |  |  |  |
|  | Fund/portfolio average cost/m2 ($/m2/year) | 0.00 |  |  |  |  |  |  |  |  |
|  | Property Council of Australia (PCA) lower quartile ($/m2/year) | 9.53 |  |  |  |  |  |  |  |  |
|  | PCA median ($/m2/year) | 11.57 |  |  |  |  |  |  |  |  |
|  | PCA upper quartile ($/m2/year) | 13.76 |  |  |  |  |  |  |  |  |
|  | Electricity (MJ/person/year) | 8,174.49 |  |  |  |  |  |  |  |  |
|  | Comparison fund/portfolio average (MJ/person/year) | 0.00 |  |  |  |  |  |  |  |  |
|  | Electricity ($/person/year) | 233.35 |  |  |  |  |  |  |  |  |
|  | Comparison fund/portfolio average ($/person/year) | 0.00 |  |  |  |  |  |  |  |  |
| Carpark & basement | Total electricity consumption (if metered) (kWh) | 42,500 |  |  |  |  |  |  |  |  |
|  | Total electricity consumption (if metered) (MJ) | 153,000 |  |  |  |  |  |  |  |  |
|  | Total electricity supply cost (if known) ($) | 49,950 |  |  |  |  |  |  |  |  |
|  | Electricity efficiency (MJ/m2/year) | 27.82 |  |  |  |  |  |  |  |  |
|  | Electricity cost ($/m2/year) | 9.08 |  |  |  |  |  |  |  |  |
| Combined offices, carpark & basement | Total electricity consumption (kWh) | 2,097,476 |  |  |  |  |  |  |  |  |
|  | Total electricity consumption (MJ) | 7,550,914 |  |  |  |  |  |  |  |  |
|  | Total electricity cost ($) | 261,128 |  |  |  |  |  |  |  |  |
|  | Total electricity consumption efficiency (MJ/m2/year) | 399 |  |  |  |  |  |  |  |  |
|  | Total electricity cost efficiency($/m2/year) | 19.68 |  |  |  |  |  |  |  |  |
|  | Total electricity efficiency per person (MJ/person/year) | 8,174.49 |  |  |  |  |  |  |  |  |
|  | Total electricity cost per person ($/person/year) | 233.35 |  |  |  |  |  |  |  |  |
| Electricity generation on site | Total generation capacity (kWh) |  |  |  |  |  |  |  |  |  |
|  | Percentage of total annual electricity consumption (%) | 2 |  |  |  |  |  |  |  |  |
| ## Gas Offices | Total gas consumption (MJ) | 4,739,995 |  |  |  |  |  |  |  |  |
|  | Total gas cost ($) | 41,025 |  |  |  |  |  |  |  |  |
|  | Gas use efficiency (MJ/m2/year) | 238 |  |  |  |  |  |  |  |  |
|  | Fund/portfolio average energy efficiency (MJ/m2/year) |  |  |  |  |  |  |  |  |  |
|  | Gas supply cost efficiency ($/m2/year) | 2.06 |  |  |  |  |  |  |  |  |
|  | Fund/portfolio average cost efficiency $/m2/year |  |  |  |  |  |  |  |  |  |
|  | Gas use per person (MJ/person/year) | 5,237.56 |  |  |  |  |  |  |  |  |
|  | Comparison fund/portfolio average (MJ/person/year) |  |  |  |  |  |  |  |  |  |
|  | Gas cost per person ($/person/year) | 45.33 |  |  |  |  |  |  |  |  |
|  | Comparison fund/portfolio average ($/person/year) |  |  |  |  |  |  |  |  |  |
| ## Total energy for the building | Total energy (MJ) | 12,290,909 |  |  |  |  |  |  |  |  |
|  | Total energy cost ($) | 302,153 |  |  |  |  |  |  |  |  |
|  | Total energy (MJ/m2/year) | 483.57 |  |  |  |  |  |  |  |  |
|  | Total energy cost efficiency ($/m2/year) | 11.89 |  |  |  |  |  |  |  |  |
|  | Total energy cost per person ($/person/year) | 333.87 |  |  |  |  |  |  |  |  |
|  | Total energy efficiency per person (MJ/person/year) | 13,581 |  |  |  |  |  |  |  |  |
|  | Comparison fund/Portfolio A average cost efficiency ($/m2/year) |  |  |  |  |  |  |  |  |  |
|  | Comparison fund/Portfolio A average consumption efficiency (MJ/m2/year) |  |  |  |  |  |  |  |  |  |
|  | Other benchmark |  |  |  |  |  |  |  |  |  |
| ## Greenhouse emissions | NABERS Energy rating (no. stars) | 2.5 |  |  |  |  |  |  |  |  |
|  | NABERS Energy statistical average for fund/portfolio (no. stars) | 0.00 |  |  |  |  |  |  |  |  |
|  | Total CO2 emissions (uncorrected for use) (kg CO2/year) |  |  |  |  |  |  |  |  |  |
|  | Total emissions normalised (kg CO2/m2) |  |  |  |  |  |  |  |  |  |
|  | Comparison fund/Portfolio A normalised emissions (kg CO2/m2) |  |  |  |  |  |  |  |  |  |
|  | Comparison fund/Portfolio B normalised emissions (kg CO2/m2) |  |  |  |  |  |  |  |  |  |
| ## Water | Average purchase price/kL from utility ($) | 0.52 |  |  |  |  |  |  |  |  |
|  | Total water consumption (kL) | 14,077 |  |  |  |  |  |  |  |  |
|  | Total water cost ($) | 7,376 |  |  |  |  |  |  |  |  |
|  | Total water efficiency (kL/m2/year) | 0.71 |  |  |  |  |  |  |  |  |
|  | Total water cost efficiency ($/m2/year) | 0.37 |  |  |  |  |  |  |  |  |
|  | Total water utilisation per person (kL/person/year) | 15.55 |  |  |  |  |  |  |  |  |
|  | Total water cost efficiency per person ($/person/year) | 8.15 |  |  |  |  |  |  |  |  |
|  | Fund/portfolio average water efficiency (kL/m2/year) |  |  |  |  |  |  |  |  |  |
|  | Fund/portfolio average water efficiency per person (kL/person/year) |  |  |  |  |  |  |  |  |  |
|  | Fund/Portfolio average water cost ($/m2/year) |  |  |  |  |  |  |  |  |  |
|  | Comparison fund/Portfolio A average efficiency (kL/m2/year) |  |  |  |  |  |  |  |  |  |
|  | Average water consumption (Sydney Water) (kL/m2/year) | 1.13 |  |  |  |  |  |  |  |  |
|  | Best practice water consumption (Sydney Water) (kL/m2/year) | 0.50 |  |  |  |  |  |  |  |  |
|  | Other benchmark |  |  |  |  |  |  |  |  |  |
| ## Waste Waste collected (W) for landfill (annual) | Total waste collected (kg/year) | 127,500 |  |  |  |  |  |  |  |  |
|  | Total waste collected (kg/m2/year) | 6.40 |  |  |  |  |  |  |  |  |
|  | Waste collected per person (kg/person/year) | 140.88 |  |  |  |  |  |  |  |  |
|  | Fund/portfolio average (kg/m2/year) |  |  |  |  |  |  |  |  |  |
|  | DECC benchmark: Average 7.8 kg/m2/year | 7.8 |  |  |  |  |  |  |  |  |
|  | DECC Average 173 kg/person/year | 173 |  |  |  |  |  |  |  |  |
| Waste collected for recycling (R) | Total waste recycled (kg/year) | 47,491 |  |  |  |  |  |  |  |  |
|  | Waste recycled (kg/m2/year) | 2.38 |  |  |  |  |  |  |  |  |
|  | Waste recycled per person (kg/person/year) | 52.48 |  |  |  |  |  |  |  |  |
|  | Fund/portfolio average (kg/m2/year) |  |  |  |  |  |  |  |  |  |
|  | Fund/portfolio average per person (kg/person/year) |  |  |  |  |  |  |  |  |  |
|  | Other benchmark |  |  |  |  |  |  |  |  |  |
| Total waste collected & recycled | Total waste collected for recycling and landfill (kg/year) | 174,991 |  |  |  |  |  |  |  |  |
|  | Total waste collected & recycled (kg/m2/year) | 8.79 |  |  |  |  |  |  |  |  |
|  | Total waste collected & recycled (kg/person/year) | 193.36 |  |  |  |  |  |  |  |  |
|  | Fund/portfolio average total waste collected & recycled (kg/m2/year) |  |  |  |  |  |  |  |  |  |
|  | Fund/portfolio average total waste collected & recycled (kg/person/year) |  |  |  |  |  |  |  |  |  |
|  | Other benchmark |  |  |  |  |  |  |  |  |  |
| Recycling ratio | % recycled | 37 |  |  |  |  |  |  |  |  |
|  | Fund/portfolio average recycling rate (% recycled) |  |  |  |  |  |  |  |  |  |
|  | Other benchmark |  |  |  |  |  |  |  |  |  |
| ## Transport | Distance to bus stop (m) | 100 |  |  |  |  |  |  |  |  |
|  | Distance to train station (m) | 1,000 |  |  |  |  |  |  |  |  |
|  | Distance to train station (km) | 1 |  |  |  |  |  |  |  |  |
|  | Distance to public carpark (m) | 100 |  |  |  |  |  |  |  |  |
|  | Number of bicycle spaces provided | 32 |  |  |  |  |  |  |  |  |
|  | Fund/portfolio average number of bicycle spaces provided | 0.00 |  |  |  |  |  |  |  |  |
|  | Ratio of bicycle spaces to occupants (%) |  |  |  |  |  |  |  |  |  |
|  | Fund/portfolio average of bicycle spaces to occupants (%) |  |  |  |  |  |  |  |  |  |
|  | Green Star goal for bicycle spaces: occupants (%) | 5 |  |  |  |  |  |  |  |  |
|  | Number of showers provided | 3 |  |  |  |  |  |  |  |  |
|  | Ratio of showers to bicycle spaces (%) | 10 |  |  |  |  |  |  |  |  |
|  | Fund/portfolio average of showers to bicycle spaces (%) | 0 |  |  |  |  |  |  |  |  |
|  | Green Star goal for showers: bicycle spaces (%) | 10 |  |  |  |  |  |  |  |  |
| ## Industry benchmarks | NABERS Water | 2 |  |  |  |  |  |  |  |  |
|  | NABERS – Fund/portfolio average | 3.2 |  |  |  |  |  |  |  |  |
|  | Green Star rating if appropriate |  |  |  |  |  |  |  |  |  |
| ## Key |  |  |  |  |  |  |  |  |  |  |
|  | Calculations made by assessor using data provided by owner |  |  |  |  |  |  |  |  |  |
| N/A | Data not available (i.e. response made on data sheet, e.g. Not available) |  |  |  |  |  |  |  |  |  |
| Blank | Data not provided (i.e. blank on data sheet) |  |  |  |  |  |  |  |  |  |
| Unknown | Data is unknown |  |  |  |  |  |  |  |  |  |