## Worksheet 3.6C

# Planning a water audit – scope of work checklist

This is an example only – adapt this worksheet to suit your organisation’s requirements. 
Source: Adapted from Sydney Water’s Every Drop Counts Business Program.

|  | Include in audit? Yes/No |
| --- | --- |
| Objectives |  |
| General objective – e.g. to carry out a comprehensive water efficiency audit to achieve the following: |  |
| Identify current water usage patterns |  |
| Benchmark water use against standard or best industry practices |  |
| Describe the current hydraulics system and identify any deficiencies |  |
| Identify water conservation opportunities (including reuse and rainfall capture) |  |
| Document the extent of existing water efficiency, reuse and rainfall capture |  |
| Recommend plumbing retro-fit and other water saving initiatives, demonstrating the costs and savings including payback period. |  |
| General methodology |  |
| To carry out a comprehensive water audit in an efficient manner that is least disturbing to the building/centre occupants, the audit may involve: |  |
| On-site investigation to quantify water usage at each of the following: |  |
| Amenities – toilets, basins, showers, urinals and kitchen fittings |  |
| Air conditioning systems and cooling towers |  |
| Cleaning and house keeping |  |
| Grounds maintenance |  |
| Fire Services |  |
| Other water-using fixtures and equipment |  |
| Review of owner’s plumbing maintenance practices |  |
| Leakage measurement through flow metering |  |
| Review existing water meter size (for possible downsizing) |  |
| Review building’s water reuse arrangements (if any are in place) |  |
| Specific measures: |  |
| Meeting with Building Management to discuss audit, access to information, documentation and a walk-through of the building/centre |  |
| Inspecting water services, meters, pumps, reservoirs, tanks and water fixtures throughout the building/centre |  |
| Inspecting all relevant water services plans |  |
| Obtaining water meter readings from the local provider for the past 3 years and assessing this information to determine usage trends |  |
| Installing a pulse unit and data loggers for submeters (existing or specifically installed for audit) |  |
| Installing acoustic flow meters to monitor flow profile and usage – at supply-to-main domestic storage and fire hydrant tanks; and at water-out-of-main domestic water tanks |  |
| Flow testing water fixtures throughout the building/centre |  |
| Analysing data obtained to determine daily usage and base flows |  |
| Installing people counters at entrances to support normalisation of usage data |  |
| System modelling over X days to identify usage for various areas or equipment within the building/centre |  |
| Assessing base flow in system and calculating water charges |  |
| Identifying and assessing water saving options |  |