## Worksheet 3.9A

# Refrigerant and equipment review

This is an example only – adapt this worksheet to suit your organisation’s requirements.

| Property name: |  |  |
| --- | --- | --- |
| Property address: |  |  |
| Name of refrigerant/HVAC contractor: |  | Contractor’s licence number: |
| Review date: | Review prepared by: | Review approved by: |

| 1 Equipment details |  |
| --- | --- |
| What is the age of the plant? |  |
| What is the life expectancy of the plant? |  |
| What refrigerant is used? |  |
| What type of lubricant is used? |  |
| What type of elastomers (rubber/plastic seals, gaskets etc.) and metals are used? |  |
| Describe other system components: |  |
| What is the compressor type? (e.g. hermatic, semi-hermatic or open drive) |  |
| Can the existing compressor be converted? |  |
| What are the system operating pressures? |  |
| Are there alternative refrigerants available that are suitable for the existing system operating pressures? |  |
| Are there alternative refrigerants available that are chemically compatible with the existing system? What is the likely impact on type of lubricant, elastomers (rubber/plastic seals, gaskets etc.) and metals used? |  |
| What is each system’s required cooling capacity? |  |
| What is each system’s shortfall or surplus cooling capacity? |  |
| Is refrigeration equipment located in moderately air-tight enclosures? Describe. |  |
| Is the refrigerant containment system adequate? |  |
| Is there a refrigerant leak detection system, maintained in good working order? |  |
| Is there more than 100 kg of a refrigerant gas located within one chiller unit in areas where ventilation is likely to be poor? |  |
| Does the refrigerant leak detection system cover the high risk parts of HVAC plant such as chillers? |  |

| 2 Refrigerant usage |  |
| --- | --- |
| What is the total quantity of each chlorinated and alternative refrigerant being stored on site in the existing system and equipment? (Complete register in Worksheet 3.9B) |  |
| Is the system leaking refrigerant? (Refer to annual usage figures or leak detection system.) |  |
| What steps have been undertaken to stop leaks? |  |

| 3 Management options |  |  |
| --- | --- | --- |
|  | Continue to use existing plant [Only an option if the system is leak free.] A leak detection system is installed and an emergency plan is in place in case of system failure. |  |
|  | Leak reduction A leak detection system is installed. Equipment must be replaced if it leaks. |  |
|  | Refrigerant recovery and reuse Refrigerants from old plant that has been decommissioned must be recovered. Refrigerant should only be handled by a qualified refrigeration engineer or accredited technician. |  |
|  | Use alternative refrigerant Replacement has low or zero ozone depletion potential (ODP) and low or zero global warming potential (GWP). Replacement refrigerant also has high efficiency and safety of use. |  |

Source: Based on steps outlined in Air Conditioning and Refrigeration Industry Refrigerant Selection Guide 2003, Australian Institute of Refrigerants, Air Conditioning and Heating (AIRAH). For more information see www.airah.org.au